## Tabelle1
| Power Supply |  | Battery Charger & Power Management |  |  | 3V3 Switching Regulator
Max. 8.4V | 6 | V |  | 6 | V |  |  | 3.3 | V | 1 | 40 | mA | ESP32 Modul |  | L = | 10-22 uH
| 4.5392 | A |  | 124.4737 | mA | Efficency | 95 | 215 | mA | 1 | 15 | mA | MAX USB Master |  | >>> | 15uH
| 27.2351 | W |  | 746.8421 | mW |  |  | 709.5 | mW | 4 | 20 | mA | LEDs
|  |  |  | 37.3421 | mW | Power loss |  |  |  | 4 | 20 | mA | Taster
| 2.7235 | W Power loss | Efficency |  |  | Link: | https://www.digikey.de/product-detail/de/texas-instruments/TPS62056DGS/296-14212-5-ND/526047
90
5V Switching Regulator
|  |  | Link: | 6 | V |  |  | 5 | V
|  |  |  | 3960.7843 | mA | Efficency | 85 | 4040 | mA | 2 | 1920 | mA | Motors | (6V/1,6A) | L = | 5.869e-06
|  |  |  | 23764.7059 | mW |  |  | 20200 | mW | 1 | 200 | mA | Pololu Mainboard | ??? | >>> | 22uH
|  |  |  | 3564.7059 | mW | Power loss
|  |  | Battery & Protection Circuit |  |  | Link: | https://www.digikey.de/product-detail/de/analog-devices-inc/LT1374CS8-5-PBF/LT1374CS8-5-PBF-ND/888771
Power Supply
Max. 8.4V | 6 | V
| 4.0853 | A
| 24.5115 | W
Efficency
| 0 | W Power loss | 100
Link:
Power loss total
| 6.3256 | W